## Sheet1
Large Non-Residential Project‡ Submission Checklist
‡ A Large Non-residential Project is defined as a submission having an existing or proposed water service connection (either domestic or fire) greater than two-inch diameter.
All 1st submission plan review packages must include this completed checklist.
Project Address:
Project Name:
Project Designer (PD): |  |  |  | PD's Initials:
Square: |  |  |  | Lot:
Please complete the checklist below by indicating: C = Complete; X = Not Applicable
| Item # | Description |  |  | PD | DCW
** | 1* | This completed checklist
** | 2* | Completed Log-in Slip
** | 3 | Review Fee payment in the amount of $7,500.00
** | 4 | Two (2) sets of full size plans and an electronic file (pdf). Plan sheets must have all of the following:
** | 4a | Vicinity map, north arrow, project narrative, index of sheets, date, graphic scale and legend.
** | 4b | Project narrative which includes (as applicable) the existing site conditions, proposed water/ sewer abandonments/ connections, proposed building use, # of residential units, # of building stories above and below ground, and proposed stormwater management. If stormwater management is not required, that should be mentioned in the narrative.
** | 4c | All plan sheets are signed and sealed by a professional engineer, registered in the District of Columbia.
| 4d* | Current DC Water general notes are included.
** | 4e | All existing and proposed buildings, curb & gutter, trees, walls, utility poles, signs, manholes, valves, fire hydrants, etc. shown and clearly labeled.
** | 4f | Property boundaries, lot lines, lot & square numbers, addresses, easements, street names, roadway/alley right-of-way widths shown and clearly labeled.
** | 4g | All existing water and sewer service lateral (s) to the building shown.
| 5 | The following existing and proposed utilities are shown, labeled (material, size & age), and clearly dimensioned, horizontally and vertically as required:
** | 5a | Water: mains, valves, fire hydrants, laterals, meters (domestic & fire)
** | 5b | Sanitary: mains, manholes/clean-outs, laterals (with flow arrows)
** | 5c | Storm: mains, manholes/clean-outs, laterals (with flow arrows)
| 5d | Electric: overhead and/or underground, poles, vaults
| 5e | Gas: mains, laterals, meters
| 5f | Communications: overhead and/or underground, guy wires, poles, vaults
| 6 | If applicable, demolition plans should be included. The plans should clearly show and label what is to remain/be relocated/be demolished.
| * | These items are available for download at: | https://www.dcwater.com/design-standards-and-forms
| ** | Prescreen Rejection Item
| Item # | Description |  |  | PD | DCW
| 7 | All abandonments of water and sewer connections to be clearly labeled on the plans with appropriate notes describing how the services are to be abandoned. Note of abandonments are to be in accordance with DC Water standard of practice which is at the main.
| 8 | All proposed water or sewer work is clearly shown, clearly labeled as proposed and drafted in a different line type or weight than the existing infrastructure.
| 9 | All proposed water or sewer connections clearly dimensioned in two horizontal directions from the property line.
| 10* | Plans include the appropriate current signed DC Water Standard Details. Not just the ref. #.
** | 11 | Standard details and meter sizing worksheet pages included on the plan sheet should be at least 80% of the actual size.
** | 12 | Profiles are provided for all proposed water lines 3" diameter and larger, and sewer lines 4" diameter and larger, and include the following:
| 12a | Existing & proposed invert and top elevations of all structures
| 12b | Material, size, and slope of pipe
| 12c | Existing & proposed ground profile
| 12d | Existing & proposed utility crossings
| 12e | Property line & limits of public and private maintenance
| 12f | Ground and basement floor elevations
| 13 | Draft of any proposed easement and/or covenant is depicted or attached
| 14 | Stationing on both the plan and profile for all proposed water/sewer mains has been provided
| 15 | Non-standard connections and appurtenances include scaled details clearly showing proposed method of installation.
| 16 | Storm sewer/SWM design includes the following:
| 16a | Existing & proposed drainage divides with flow arrows
| 16b | Time of concentration, runoff C value, and 15-year runoff rate
| 16c | Pipe capacity, inlet computations, and hydraulic grade line computations (with HGL plotted on profile)
| 16d | Pre- and post-development 2-yr , and pre- and post-project 15-yr storm runoff values for each storm sewer main
| 16e | 15-yr post-BMP storm runoff (routed) value that takes into account provided storage in BMP
| 16f | Stormwater management narrative
| 16g | Stormwater management details
** | 17* | The following DC Water standard forms are completed and provided on the plans:
| 17a | Hydrant flow test results (valid for one (1) year from date of test)
| 17b | Meter sizing worksheets
| 17c | Backflow preventer forms
| 17d | Booster pump data form (if applicable)
| 17e | Backwater Evaluation Form
| 17f | Letters requesting variance: domestic meter inside building; fire detector check assembly outside building (if applicable).
| * | These items are available for download at: | https://www.dcwater.com/design-standards-and-forms
| ** | Prescreen Rejection Item
| Item # | Description |  |  | PD | DCW
| 18 | Structural design calculations are included (if applicable), i.e. non-standard thrust blocking, pile supports, installation that imparts additional load on an existing facility, utility installation that is deeper than the standard depth, cast-in-place sewer manholes etc.
| 19* | Per details W-80.01 and S-80.01, the proposed water meter, curb cock, and sewer clean-out are located in public space.
| 20 | If the project includes public water main replacement, the plans clearly identify all property owners who will be affected by the proposed water construction. The plans include limits of disturbance from the main to the meter, addresses of properties affected, and size of existing service.
| 21 | Adequate room is provided on the plan sheets for DC Water approval stamp.
| * | These items are available for download at: | https://www.dcwater.com/design-standards-and-forms
| ** | Prescreen Rejection Item